| About the Measure |  |
| --- | --- |
| Domain: | Speech and Hearing |
| Measure: | Instrumental Assessments of Voice |
| Definition: | A core set of assessments to evaluate a subject’s voice. |
| Purpose: | Laryngeal imaging, acoustics, and aerodynamic analysis are used to assess voice disorders. |
| Essential PhenX Measures: | Current Age |
| Related PhenX Measures: | Voice Impairments |
| Keywords: | Voice assessment, voice quality, laryngeal imaging, endoscopy, acoustic analysis, aerodynamic analysis, speech and hearing |
| Measure Release Date: |  |

| About the Protocol |  |
| --- | --- |
| Protocol Release Date: |  |
| PhenX Protocol Name: | Instrumental Assessments of Voice |
| Protocol Name from Source: | N/A; see source. |
| Description: | Laryngeal imaging, acoustics, and aerodynamic analysis protocols with published examples of data collection templates that are used to evaluate voice disorders. |
| Specific Instructions: | The standard paragraph and sentences can also be read out loud to the participant and repeated aloud if the individual is unable to read them. Participants must be capable of at least understanding the audible reading of materials to repeat them out loud in return as a minimum criterion. Use of the Consensus Auditory-Perceptual Evaluation of Voice (CAPE-V) protocol supplemented by a standard reading passage is recommended to align the auditory-perceptual judgments with acoustic recordings for analysis. However, these procedures can be conducted separately and independently. The primary requirement with pediatric patients would be that they need to be cooperative. |
| Protocol: | See Patel et al. (2018) for the full protocols of the three assessments. The following three data collection templates are found in Appendices A through C of Patel et al. (2018) and facilitate standardized data collection. - Template for Laryngeal Imaging Name: Date: Endoscope used: Gain setting: Task/s: Mouth-to-microphone distance and angle: Vocal fold edges Left vocal fold smooth/straight irregular rough bowed CNJ* Right vocal fold smooth/straight irregular rough bowed CNJ Vocal fold mobility Left vocal fold Normal Reduced Absent CNJ Right vocal fold Normal Reduced Absent CNJ Supraglottic activity Lateral compression anteroposterior compression sphincteric compression CNJ Mile Moderate Severe Regularity Regular Intermittent Irregular CNJ Amplitude Left vocal fold 0% ≤ 25% ≤ 50% ≤ 75% ≤ 100% CNJ Right vocal fold 0% ≤ 25% ≤ 50% ≤ 75% ≤ 100% CNJ Mucosal wave movement Left vocal fold 0% ≤ 25% ≤ 50% ≤ 75% ≤ 100% CNJ Right vocal fold 0% ≤ 25% ≤ 50% ≤ 75% ≤ 100% CNJ Glottal closure Complete closure anterior gap irregular closure Spindle shaped gap posterior gap hourglass gap Absence of closure Variable closure (identify predominant pattern) CNJ Left/right phase symmetry Symmetric intermittently asymmetric consistently asymmetric CNJ Vertical level Same level different levels (identify which vocal fold is above the other vocal fold) CNJ Closure duration Open phase predominant closed phase predominant approximately equal CNJ *CNJ = could not judge. Identify reason if rating CNJ. - Template for Acoustic Analysis Name: Date: Microphone distance (cm/angle): Sampling rate (Hz): Quantization rate (bits): Software used for acoustic analysis: Background noise level (dB SPL) during 5s of silence: SPL frequency weighting for background noise level: C-weighting/A-weighting/no weighting SPL calibration: Yes/No Measures of vocal sound level - Habitual vocal sound pressure level (dB SPLeq@30 cm, C-weighted): _____ - Task: Standard reading passage - Vocal sound pressure level (dB SPL) range: - Task: Glide on the vowel /a/ - Maximum vocal dB SPLeq@30 cm, C-weighted: _____ - Minimum vocal dB SPLeq@30 cm, C-weighted: _____ Measures of vocal frequency - Mean vocal frequency (Hz): ______ Task: Standard reading passage _____ - Vocal frequency standard deviation (Hz): _____ Task: Standard reading passage _____ - Vocal frequency (Hz) range: - Task: Glide on the vowel /a/ - Maximum vocal frequency (Hz): ______ _____ - Minimum vocal frequency (Hz): _____ Measure of noise in the vocal signal - Vocal cepstral peak prominence (CPP in decibels) - Task: Sustained vowel /a/ for 3-5 s (CPPvowel): ____ - Task: Standard reading passage (CPPspeech): _____ - Template for Aerodynamic Analysis Name: Date: Background noise level (dB SPL) during 5 s of silence: SPL frequency weighting for background noise level: C-weighting/A-weighting/no weighting SPL calibration: Yes/No Tasks Aerodynamic measures Habitual loudness Raised loudness (pi:pi:pi:pi:pi) (pi:pi:pi:pi:pi) Average glottal airflow rate (L/S or ml/s) Average subglottal air pressure (cmH2O or kPa) Mean frequency (Hz) Mean vocal dB SPLeq@30 cm, C-weighted |
| Selection Rationale: | These assessments were recommended by an expert panel and the American Speech-Language-Hearing Association (ASHA), the leading speech, language, and hearing research organization in the United States. |
| Source: | Patel, R. R., Awan, S. N., Barkmeier-Kraemer, J., Deliyski, D., Eadie, T., Švec, J. G., & Hillman, R. (2018). Recommended protocols for instrumental assessment of voice: American Speech-Language-Hearing Association expert panel to develop a protocol for instrumental assessment of vocal function. American Journal of Speech-Language Pathology, 27(3), 887–905. Posted with permission from the American Speech-Language-Hearing Association (ASHA). |
| Availability: | Publicly available |
| Life Stage: | Child Adolescent Adult Senior Pregnancy |
| Language: | English |
| Participant: | Children and adults who have the ability to read standard passages or can comprehend and repeat them back if read aloud to those unable to read. |
| Personnel and Training Required: | Individuals conducting these protocols will need to have expertise to understand how to run the equipment, complete the recordings and analyses. The American Speech-Language-Hearing Association (ASHA) also has a family of documents that outline critical knowledge and skills to conduct vocal tract visualization and imaging. A trained and certified speech-language pathologist is recommended. |
| Equipment Needs: | See Patel et al. (2018) for more details about the equipment needed to perform these assessments. At a minimum, you will need the following for conducting laryngeal imaging, acoustic, and aerodynamic recordings: Laryngeal Imaging: Appropriate light source Flexible endoscope or videoscope Acoustic Recording: Microphone Microphone preamplifier Analog-to-digital conversion to record the microphone signal Aerodynamic Recording: Facemask Pneumotachograph Differential pressure transducer |
| General References: | Deliyski, D., Powell, M. E. G., Zacharias, S. R. C., Gerlach, T. T., & de Alarcon, A. (2015). Experimental investigation on minimum frame rate requirements of high-speed videoendoscopy for clinical voice assessment. Biomedical Signal Processing and Control, 17, 21–28. Heman-Ackah, Y. D., Sataloff, R. T., Laureyns, G., Lurie, D., Michael, D. D., Heuer, R., . . . Hillenbrand, J. (2014). Quantifying the cepstral peak prominence, a measure of dysphonia. Journal of Voice, 28(6), 783–788. Poburka, B. J., Patel, R. R., & Bless, D. M. (2017). Voice-vibratory assessment with laryngeal imaging (VALI) form: Reliability of rating stroboscopy and high-speed videoendoscopy. Journal of Voice, 31(4), e1513–e1514. Titze, I. R., Baken, R. J., Bozeman, K., Granqvist, S., Henrich, N., Herbst, C. T., . . . Wolfe, J. (2015). Toward a consensus on symbolic notation of harmonics, resonances, and formants in vocalization. Journal of the Acoustical Society of America, 137(5), 3005–3007. Watts, C. R., Awan, S. N., & Maryn, Y. (2017). A comparison of cepstral peak prominence measures from two acoustic analysis programs. Journal of Voice, 31(3), 387.e1–387.e10. |
| Mode of Administration: | Clinical examination |
| Derived Variables: | None |
| Requirements: | Requirements Category; Required (Yes/No):. Major equipment; Yes. Specialized training; Yes. Specialized requirements for biospecimen collection; No. Average time of greater than 15 minutes in an unaffected individual; Yes. |
| Annotations for Specific Conditions: | No annotations at this time |
| Process and Review: | The Expert Review Panel (ERP) reviewed the measures in the Speech and Hearing domain. Guidance from the ERP includes the following: - Added a new measure - Created new Data Dictionary |